## sizing
|  | Peak Workload (TPS) | Core per Server | Max Server Faults | HA Ratio
|  | 4000 | 24 | 2 | 24%
| Typical core Ratio | TPS by Core | # of Cores for workload TPS | HA cores | Prod cores | Dev % of Workload | Dev cores | Test % of Workload | Test cores | PreProd % of Workload | PreProd cores | DR active cores % of Prod+PreProd | DR cores | DR CBU (spare) cores | Tot # of Active cores | x86 to z Active Core ratio | Tot # of Active cores no DR | x86 to z Core ratio no DR | Tot # of cores | x86 to z Core ratio
x86 | 10 | 20 | 200 | 48 | 248 | 50% | 100 | 50% | 100 | 100% | 200 | 100% | 448 |  | 1096 | 18.2667 | 648 | 10.8 | 1096 | 10.96
LinuxONE | 1 | 200 | 20 |  | 20 | 50% | 10 | 50% | 10 | 100% | 20 |  |  | 40 | 60 |  | 60 |  | 100
* most customers would have exact replica of Prod
Sizing Disclaimer: | [11 empty] | Invece di core per DR, su LinuxONE abbiamo i DR CBU, spare core attivati solo se ci sono disastri. Non si paga il software perché sono inattivi
Calculation of required cores for a real workload requires sophisticated analysis.
In order to make a simple and realistic sizing, for this exercise a simplified approach is used considering the Typical core ratio.
The typical core ratio take into account:
Architecture, GHz & utilization, VM & Hypervisor effect, System Overhead, Networking co-location effect, Sysplex, etc.
Although these data will change slightly depending the server model used, these data averages are proved by many real workloads and documented also on papers such as those reported in the references.
Reference: A. Micarelli, S. Proietti Conti, "Why Application Requirements Should Drive the Choice of your Infrastructure", 2021 IBM Corporation web published paper
Download at: | https://www.ibm.com/downloads/cas/2VVYYVNP
Legend:
Input field
Optional input
Suggested input (reccomended not change)
Calculated values
Calculated values highlighted (Very Important)
Calculated values highlighted (Important)
Constant

## x86 TCO
Small Size Enterprise | [15 empty] | Acquisition Cost |  |  |  |  | Maintenance/ Operating Cost |  |  |  |  | TOTALS
Typically x86 workload |  | Se scrivi una S, scegli un certo server!!! |  |  |  |  | Numero di CPU | [8 empty] | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Hardware
Server Model |  | Acquisition Cost | Maintenance/ Operating Cost | Starting Year of Maint | Discount % | # of Cores per Server | # of Sockets | # of Cores per socket | # of "boxes" per Rack |  | kW
R1-XES08ef S68813 w Xeon Gold 6126 12C 2.60Ghz (2 Chips, 24 Cores, 128GB total RAM 2666Mhz) | 5 | 6805.9 | 1361.18 | 4 | 0% | 24 | 2 | 12 | 30 |  | 0.6
Rack server w Xeon Gold 6244 8C 3.60GHz (2 Chips, 16 Cores) | 0 | 8000 | 1600 | 4 | 30% | 16 | 2 | 8 | 30 |  | 0.5
Rack server w Xeon Gold 5115 10C 2.40GHz (2 Chips, 20 Cores) | 0 | 10000 | 2000 | 4 | 30% | 20 | 2 | 10 | 30 |  | 0.6
Rack server w Xeon Gold 6146 12C 3.20GHz (2 Chips, 24 Cores) | 0 | 12000 | 2400 | 4 | 30% | 24 | 2 | 12 | 15 |  | 1.2
Rack server w Xeon Gold 6146 12C 3.20GHz (4 Chips, 48 Cores) | 0 | 24000 | 4800 | 4 | 30% | 48 | 4 | 12 | 15 |  | 1.2
R1-XES08ef S68813 w Xeon Gold 6126 12C 2.60Ghz (2 Chips, 24 Cores, 128GB total RAM 2666Mhz) | S | 6805.9 | 1361.18 | 4 | 0% | 24 | 2 | 12 | 30 |  | 0.6
6029U-E1CRT w Xeon Platinum 8160T 24C 2.1Ghz 2 Chips, 48 Cores, 256 GB total RAM 2933Mhz | 0 | 20801.34 | 4160.268 | 4 | 0% | 48 | 2 | 24 | 15 |  | 1.2
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
Environment being investigated |  | # of Cores for bare workload | % of Cores vs bare workload | Allocated Cores | cores per Server | Allocated Servers | Tot cores available | Spare Cores | % of spare cores | Allocated Sockets |  |  | # of Server | # of Sockets | # of Cores | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Prod |  | 200 | see sizing | 248 | 24 | 11 | 264 | 16 | 6.061% | 21 |  | Prod | 11 | 21 | 248 | 74864.9 |  |  |  |  | 0 | 0 | 0 | 14972.98 | 14972.98 | 104810.86 | Prod
Dev |  |  | 50% | 100 | 24 | 5 | 120 | 20 | 16.67% | 9 |  | Dev | 5 | 9 | 100 | 34029.5 |  |  |  |  | 0 | 0 | 0 | 6805.9 | 6805.9 | 47641.3 | Dev
Test |  |  | 50% | 100 | 24 | 5 | 120 | 20 | 16.67% | 9 |  | Test | 5 | 9 | 100 | 34029.5 |  |  |  |  | 0 | 0 | 0 | 6805.9 | 6805.9 | 47641.3 | Test
PreProd |  |  | 100% | 200 | 24 | 9 | 216 | 16 | 7.407% | 17 |  | PreProd | 9 | 17 | 200 | 61253.1 |  |  |  |  | 0 | 0 | 0 | 12250.62 | 12250.62 | 85754.34 | QA
DR |  |  | 100% | 448 | 24 | 20 | 480 | 32 | 6.667% | 38 |  | DR | 20 | 38 | 448 | 136118 |  |  |  |  | 0 | 0 | 0 | 27223.6 | 27223.6 | 190565.2 | DR
TOT |  |  |  | 1096 |  | 50 | 1200 | 104 | 8.667% | 94 |  |  | 50 | 94 | 1096 | 340295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68059 | 68059 | 476413 | TOT
[13 empty] | # of Server | # of Sockets | # of Cores
Software Stack
Production |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS - SUSE Linux Enterprise Server 15 for x86 & x86-64 (Unlimited VM) - 3 Year std subscription |  | 2702 | 540.4 | 4 | 0% | socket | socket | 1 | 11 | 21 | 248 |  | 21 | socket | 21 | 56742 |  |  |  |  | 0 | 0 | 0 | 11348.4 | 11348.4 | 79438.8
VM - Oracle Virtual Box Perpetual License |  | 1065 | 213 | 2 | 0% | socket | socket | 1 | 11 | 21 | 248 |  | 21 | socket | 21 | 22365 |  |  |  |  | 0 | 4473 | 4473 | 4473 | 4473 | 40257
Application Server - Oracle WebLogic Server Enterprise Edition |  | 29830 | 5966 | 2 | 0% | socket | socket | 1 | 11 | 21 | 248 |  | 21 | socket | 21 | 626430 |  |  |  |  | 0 | 125286 | 125286 | 125286 | 125286 | 1127574
DB - Oracle DB Enterprise Edition |  | 40489 | 8097.8 | 2 | 0% | socket | socket | 1 | 11 | 21 | 248 |  | 21 | socket | 21 | 850269 |  |  |  |  | 0 | 170053.8 | 170053.8 | 170053.8 | 170053.8 | 1530484.2
Data Replication Tools - GoldenGate |  | 14915 | 3281 | 1 | 0% | socket | socket | 1 | 11 | 21 | 248 |  | 21 | socket | 21 | 313215 |  |  |  |  | 68901 | 68901 | 68901 | 68901 | 68901 | 657720
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 11 | 21 | 248 |  | 11 | server | 11 | 33000 |  |  |  |  | 0 | 6600 | 6600 | 6600 | 6600 | 59400
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 11 | 21 | 248 |  | 11 | server | 11 | 33000 |  |  |  |  | 0 | 6600 | 6600 | 6600 | 6600 | 59400
|  | Prezzi convertiti in euro |  |  |  | PVU=Performance Value Unit: prezzo diverso a seconda della macchina target (es. 100$ per PVU, ogni core 70 PVU). | [8 empty] | PROD | 1935021 | 0 | 0 | 0 | 0 | 68901 | 381913.8 | 381913.8 | 393262.2 | 393262.2 | 3554274
Il costo di manutenzione dipende dal software
Dev |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS - SUSE Linux Enterprise Server 15 for x86 & x86-64 (Unlimited VM) - 3 Year std subscription |  | 2702 | 540.4 | 4 | 0% | socket | socket | 1 | 5 | 9 | 100 |  | 9 | socket | 9 | 24318 |  |  |  |  | 0 | 0 | 0 | 4863.6 | 4863.6 | 34045.2
VM - Oracle Virtual Box Perpetual License |  | 1065 | 213 | 2 | 0% | socket | socket | 1 | 5 | 9 | 100 |  | 9 | socket | 9 | 9585 |  |  |  |  | 0 | 1917 | 1917 | 1917 | 1917 | 17253
Application Server - Oracle WebLogic Server Enterprise Edition |  | 29830 | 5966 | 2 | 0% | socket | socket | 1 | 5 | 9 | 100 |  | 9 | PVU | 9 | 268470 |  |  |  |  | 0 | 53694 | 53694 | 53694 | 53694 | 483246
DB - Oracle DB Enterprise Edition |  | 40489 | 8097.8 | 2 | 0% | socket | socket | 1 | 5 | 9 | 100 |  | 9 | core | 9 | 364401 |  |  |  |  | 0 | 72880.2 | 72880.2 | 72880.2 | 72880.2 | 655921.8
Data Replication Tools - GoldenGate |  | 14915 | 3281 | 1 | 0% | socket | socket | 1 | 5 | 9 | 100 |  | 9 | core | 9 | 134235 |  |  |  |  | 29529 | 29529 | 29529 | 29529 | 29529 | 281880
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 5 | 9 | 100 |  | 5 | server | 5 | 15000 |  |  |  |  | 0 | 3000 | 3000 | 3000 | 3000 | 27000
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 5 | 9 | 100 |  | 5 | server | 5 | 15000 |  |  |  |  | 0 | 3000 | 3000 | 3000 | 3000 | 27000
[15 empty] | DEV | 831009 | 0 | 0 | 0 | 0 | 29529 | 164020.2 | 164020.2 | 168883.8 | 168883.8 | 1526346
Test |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS - SUSE Linux Enterprise Server 15 for x86 & x86-64 (Unlimited VM) - 3 Year std subscription |  | 2702 | 540.4 | 4 | 0% | socket | socket | 1 | 5 | 9 | 100 |  | 9 | socket | 9 | 24318 |  |  |  |  | 0 | 0 | 0 | 4863.6 | 4863.6 | 34045.2
VM - Oracle Virtual Box Perpetual License |  | 1065 | 213 | 2 | 0% | socket | socket | 1 | 5 | 9 | 100 |  | 9 | socket | 9 | 9585 |  |  |  |  | 0 | 1917 | 1917 | 1917 | 1917 | 17253
Application Server - Oracle WebLogic Server Enterprise Edition |  | 29830 | 5966 | 2 | 0% | socket | socket | 1 | 5 | 9 | 100 |  | 9 | PVU | 9 | 268470 |  |  |  |  | 0 | 53694 | 53694 | 53694 | 53694 | 483246
DB - Oracle DB Enterprise Edition |  | 40489 | 8097.8 | 2 | 0% | socket | socket | 1 | 5 | 9 | 100 |  | 9 | core | 9 | 364401 |  |  |  |  | 0 | 72880.2 | 72880.2 | 72880.2 | 72880.2 | 655921.8
Data Replication Tools - GoldenGate |  | 14915 | 3281 | 1 | 0% | socket | socket | 1 | 5 | 9 | 100 |  | 9 | core | 9 | 134235 |  |  |  |  | 29529 | 29529 | 29529 | 29529 | 29529 | 281880
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 5 | 9 | 100 |  | 5 | server | 5 | 15000 |  |  |  |  | 0 | 3000 | 3000 | 3000 | 3000 | 27000
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 5 | 9 | 100 |  | 5 | server | 5 | 15000 |  |  |  |  | 0 | 3000 | 3000 | 3000 | 3000 | 27000
[15 empty] | Test | 831009 | 0 | 0 | 0 | 0 | 29529 | 164020.2 | 164020.2 | 168883.8 | 168883.8 | 1526346
Pre Prod / QA |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS - SUSE Linux Enterprise Server 15 for x86 & x86-64 (Unlimited VM) - 3 Year std subscription |  | 2702 | 540.4 | 4 | 0% | socket | socket | 1 | 9 | 17 | 200 |  | 17 | socket | 17 | 45934 |  |  |  |  | 0 | 0 | 0 | 9186.8 | 9186.8 | 64307.6
VM - Oracle Virtual Box Perpetual License |  | 1065 | 213 | 2 | 0% | socket | socket | 1 | 9 | 17 | 200 |  | 17 | socket | 17 | 18105 |  |  |  |  | 0 | 3621 | 3621 | 3621 | 3621 | 32589
Application Server - Oracle WebLogic Server Enterprise Edition |  | 29830 | 5966 | 2 | 0% | socket | socket | 1 | 9 | 17 | 200 |  | 17 | PVU | 17 | 507110 |  |  |  |  | 0 | 101422 | 101422 | 101422 | 101422 | 912798
DB - Oracle DB Enterprise Edition |  | 40489 | 8097.8 | 2 | 0% | socket | socket | 1 | 9 | 17 | 200 |  | 17 | core | 17 | 688313 |  |  |  |  | 0 | 137662.6 | 137662.6 | 137662.6 | 137662.6 | 1238963.4
Data Replication Tools - GoldenGate |  | 14915 | 3281 | 1 | 0% | socket | socket | 1 | 9 | 17 | 200 |  | 17 | core | 17 | 253555 |  |  |  |  | 55777 | 55777 | 55777 | 55777 | 55777 | 532440
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 9 | 17 | 200 |  | 9 | server | 9 | 27000 |  |  |  |  | 0 | 5400 | 5400 | 5400 | 5400 | 48600
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 9 | 17 | 200 |  | 9 | server | 9 | 27000 |  |  |  |  | 0 | 5400 | 5400 | 5400 | 5400 | 48600
[15 empty] | Pre Prod /QA | 1567017 | 0 | 0 | 0 | 0 | 55777 | 309282.6 | 309282.6 | 318469.4 | 318469.4 | 2878298
DR |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS - SUSE Linux Enterprise Server 15 for x86 & x86-64 (Unlimited VM) - 3 Year std subscription |  | 2702 | 540.4 | 4 | 0% | socket | socket | 1 | 20 | 38 | 448 |  | 38 | socket | 38 | 102676 |  |  |  |  | 0 | 0 | 0 | 20535.2 | 20535.2 | 143746.4
VM - Oracle Virtual Box Perpetual License |  | 1065 | 213 | 2 | 0% | socket | socket | 1 | 20 | 38 | 448 |  | 38 | socket | 38 | 40470 |  |  |  |  | 0 | 8094 | 8094 | 8094 | 8094 | 72846
Application Server - Oracle WebLogic Server Enterprise Edition |  | 29830 | 5966 | 2 | 0% | socket | socket | 1 | 20 | 38 | 448 |  | 38 | PVU | 38 | 1133540 |  |  |  |  | 0 | 226708 | 226708 | 226708 | 226708 | 2040372
DB - Oracle DB Enterprise Edition |  | 40489 | 8097.8 | 2 | 0% | socket | socket | 1 | 20 | 38 | 448 |  | 38 | core | 38 | 1538582 |  |  |  |  | 0 | 307716.4 | 307716.4 | 307716.4 | 307716.4 | 2769447.6
Data Replication Tools - GoldenGate |  | 14915 | 3281 | 1 | 0% | socket | socket | 1 | 20 | 38 | 448 |  | 38 | core | 38 | 566770 |  |  |  |  | 124678 | 124678 | 124678 | 124678 | 124678 | 1190160
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 20 | 38 | 448 |  | 20 | server | 20 | 60000 |  |  |  |  | 0 | 12000 | 12000 | 12000 | 12000 | 108000
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 20 | 38 | 448 |  | 20 | server | 20 | 60000 |  |  |  |  | 0 | 12000 | 12000 | 12000 | 12000 | 108000
[15 empty] | DR | 3502038 | 0 | 0 | 0 | 0 | 124678 | 691196.4 | 691196.4 | 711731.6 | 711731.6 | 6432572
[13 empty] | Software Stack TOTALS |  |  | 8666094 | 0 | 0 | 0 | 0 | 308414 | 1710433.2 | 1710433.2 | 1761230.8 | 1761230.8 | 15917836 | TOT
People
People | [12 empty] | # of Server | FTE Require |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
# of Servers covered by 1 FTE for IT Operations considering QoS |  |  | 30 | This is for patches, upgrade, backup, Crit Sit or Disaster recovery personnels, etc | [7 empty] | Prod | 11 | 0.36667 |  | 1: 36666.6667; 2: 36666.6667; 3: 36666.6667; 4: 36666.6667; 5: 36666.6667 | 183333.3333 | Prod
Avg yearly Fully loaded cost of IT Staff |  |  | 100000 | [8 empty] | Dev | 5 | 0.16667 |  | 1: 16666.6667; 2: 16666.6667; 3: 16666.6667; 4: 16666.6667; 5: 16666.6667 | 83333.3333 | Dev
[12 empty] | Test | 5 | 0.16667 |  | 1: 16666.6667; 2: 16666.6667; 3: 16666.6667; 4: 16666.6667; 5: 16666.6667 | 83333.3333 | Test
[12 empty] | QA | 9 | 0.3 |  | 1: 30000; 2: 30000; 3: 30000; 4: 30000; 5: 30000 | 150000 | QA
[12 empty] | DR | 20 | 0.66667 |  | 1: 66666.6667; 2: 66666.6667; 3: 66666.6667; 4: 66666.6667; 5: 66666.6667 | 333333.3333 | DR
[13 empty] | TOT FTE required | 1.6667 |  | 0 | 0 | 0 | 0 | 0 | 166666.6667 | 166666.6667 | 166666.6667 | 166666.6667 | 166666.6667 | 833333.3333 | TOT
Network
Network | [13 empty] | # of Server |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Avg cost of Networking Infrastructure per Server |  |  | 7000 | Cambia solo questo | [8 empty] | Prod | 11 |  | 53900 |  |  |  |  | 0 | 5390 | 5390 | 5390 | 5390 | 75460 | Prod
Avg discount % |  |  | 30% | [9 empty] | Dev | 5 |  | 24500 |  |  |  |  | 0 | 2450 | 2450 | 2450 | 2450 | 34300 | Dev
Avg Maintenance/ Operating Cost (% of acq.) |  |  | 10% | [9 empty] | Test | 5 |  | 24500 |  |  |  |  | 0 | 2450 | 2450 | 2450 | 2450 | 34300 | Test
Avg Maintenance/ Operating Cost (Currency) |  |  | 700 | [9 empty] | QA | 9 |  | 44100 |  |  |  |  | 0 | 4410 | 4410 | 4410 | 4410 | 61740 | QA
Starting Year of Maint |  |  | 2 | [9 empty] | DR | 20 |  | 98000 |  |  |  |  | 0 | 9800 | 9800 | 9800 | 9800 | 137200 | DR
[13 empty] | TOT # of Servers | 50 |  | 245000 | 0 | 0 | 0 | 0 | 0 | 24500 | 24500 | 24500 | 24500 | 343000 | TOT
Facilities
Space | [12 empty] | # of Server | # of Rack Cab | Avg. Footprint | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Footprint of Server Rack Cabinet |  | sq.m. | 2.6 | Non toccare!!! | [7 empty] | Prod | 11 | 0.36667 | 1 | 1: 2600; 2: 2600; 3: 2600; 4: 2600; 5: 2600 | 13000 | Prod
# of "boxes" per Rack |  |  | 30 | [8 empty] | Dev | 5 | 0.16667 | 0.43333 | 1: 1126.6667; 2: 1126.6667; 3: 1126.6667; 4: 1126.6667; 5: 1126.6667 | 5633.3333 | Dev
Fully loaded cost of space per sq meter |  | $ | 2600 | [8 empty] | Test | 5 | 0.16667 | 0.43333 | 1: 1126.6667; 2: 1126.6667; 3: 1126.6667; 4: 1126.6667; 5: 1126.6667 | 5633.3333 | Test
[12 empty] | QA | 9 | 0.3 | 0.78 | 1: 2028; 2: 2028; 3: 2028; 4: 2028; 5: 2028 | 10140 | QA
[12 empty] | DR | 20 | 0.66667 | 2 | 1: 5200; 2: 5200; 3: 5200; 4: 5200; 5: 5200 | 26000 | DR
[13 empty] | 50 | 1.6667 | 4.6467 | 0 | 0 | 0 | 0 | 0 | 12081.3333 | 12081.3333 | 12081.3333 | 12081.3333 | 12081.3333 | 60406.6667 | TOT
[13 empty] | # of Server | # of Rack Cab | 5 | 1: 12081.3333
Electricity | [12 empty] | # of Servers | kWh / year |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Actual Electricity Cost at the sites |  | $/kWh | 0.057667 | Costo energia aggiornato a Marzo 2021 (media delle fasce orarie) | [7 empty] | Prod | 11 | 57816 |  | 12081.3333 1: 3334.056; 12081.3333 2: 3334.056; 12081.3333 3: 3334.056; 12081.3333 4: 3334.056; 12081.3333 5: 3334.056 | 16670.28 | Prod
Electricity Additional Cost for cooling, UPS and other peripherals |  | % | 66% | [8 empty] | Dev | 5 | 26280 |  | 12081.3333 1: 1515.48; 12081.3333 2: 1515.48; 12081.3333 3: 1515.48; 12081.3333 4: 1515.48; 12081.3333 5: 1515.48 | 7577.4 | Dev
Electricity Consumption of Selected Server |  | kWh | 0.6 | [8 empty] | Test | 5 | 26280 |  | 12081.3333 1: 1515.48; 12081.3333 2: 1515.48; 12081.3333 3: 1515.48; 12081.3333 4: 1515.48; 12081.3333 5: 1515.48 | 7577.4 | Test
Yearly kWh/ server |  | kWh | 5256 | [8 empty] | QA | 9 | 47304 |  | 12081.3333 1: 2727.864; 12081.3333 2: 2727.864; 12081.3333 3: 2727.864; 12081.3333 4: 2727.864; 12081.3333 5: 2727.864 | 13639.32 | QA
[12 empty] | DR | 20 | 105120 |  | 12081.3333 1: 6061.92; 12081.3333 2: 6061.92; 12081.3333 3: 6061.92; 12081.3333 4: 6061.92; 12081.3333 5: 6061.92 | 30309.6 | DR
[13 empty] | 50 | 262800 |  | 0 | 0 | 0 | 0 | 0 | 15154.8 | 15154.8 | 15154.8 | 15154.8 | 15154.8 | 75774 | TOT
[13 empty] | # of Servers | kWh / year
[12 empty] | Prod |  |  |  | 0 | 0 | 0 | 0 | 0 | 5934.056 | 5934.056 | 5934.056 | 5934.056 | 5934.056 | 29670.28 | Prod
[12 empty] | Dev |  |  |  | 0 | 0 | 0 | 0 | 0 | 2642.1467 | 2642.1467 | 2642.1467 | 2642.1467 | 2642.1467 | 13210.7333 | Dev
[12 empty] | Test |  |  |  | 0 | 0 | 0 | 0 | 0 | 2642.1467 | 2642.1467 | 2642.1467 | 2642.1467 | 2642.1467 | 13210.7333 | Test
[12 empty] | QA |  |  |  | 0 | 0 | 0 | 0 | 0 | 4755.864 | 4755.864 | 4755.864 | 4755.864 | 4755.864 | 23779.32 | QA
[12 empty] | DR |  |  |  | 0 | 0 | 0 | 0 | 0 | 11261.92 | 11261.92 | 11261.92 | 11261.92 | 11261.92 | 56309.6 | DR
[13 empty] | Facilities TOTALS |  |  | 0 | 0 | 0 | 0 | 0 | 27236.1333 | 27236.1333 | 27236.1333 | 27236.1333 | 27236.1333 | 136180.6667 | TOT
[14 empty] | Total costs for this scenario |  | 9251389 | 0 | 0 | 0 | 0 | 502316.8 | 1928836 | 1928836 | 2047692.6 | 2047692.6 | 17706763 | TOT
[14 empty] | Tot costs per year |  | 12081.3333 1: 9753705.8; 12081.3333 2: 1928836; 12081.3333 3: 1928836; 12081.3333 4: 2047692.6; 12081.3333 5: 2047692.6 | 17706763
[14 empty] | Tot cumulative costs |  | 12081.3333 1: 9753705.8; 12081.3333 2: 11682541.8; 12081.3333 3: 13611377.8; 12081.3333 4: 15659070.4; 12081.3333 5: 17706763

## LinuxONE TCO
Enterprise Grade Linux Environment |  |  | costo dei core aggiuntivi |  |  | max numero di core per server | [8 empty] | Acquisition/Capital Cost |  |  |  |  | Maintenance/ Operating Cost |  |  |  |  | TOTALS
Typically LinuxONE | Costo di acquisto | LinuxOne include questi core |  | costo dei core spare | [9 empty] | Anni: | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Hardware
Linux ONE | Acquisition Cost | Included cores | core cost | CBU Cost | Discount % | # of Cores per Server | Maintenance/ Operating Cost | Starting Year of Maint | kW |  |  | SW Incl | SW incl | SW incl | Acquisition/Capital Cost 1: SW incl
Simplicistic model to build a price example | 600000 | 6 | 50000 | 5000 | 30% | 190 | 10% | 4 | 15 |  |  | OS | VM | Admin | Acquisition/Capital Cost 1: Management
This is an estimate based on this web page: | https://www.ibm.com/it-infrastructure/resources/tools/linuxone-tco-calculator/
| Non toccare!!!!! | [13 empty] | Maintenance/ Operating Cost 1: Costi del supporto tecnico (nei primi tre anni ipotizziamo sia gratis) | Ipotizzato uno sconto del 30%
Simplicistic architecture considering always 2 LinuxONE servers, each one in a different site for HA & DR
| # of Cores (core) for bare workload | % of Cores vs bare workload | Allocated Cores | Site 1 core | Site 2 core | Site 1 CBU | Site 2 CBU |  | Allocation % |  |  | # of Server | # of Sockets | # of Cores | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Prod | 20 | see sizing | 20 | 20 |  |  | 20 | Prod | 33.33% |  | Prod | 0.66667 | 20 | 20 | 840000 |  |  |  |  | 0 | 0 | 0 | 84000 | 84000 | 1008000 | Prod
Dev |  | 50% | 10 | 10 | 0 |  |  | Dev | 16.67% |  | Dev | 0.33333 | 10 | 10 | 420000 |  |  |  |  | 0 | 0 | 0 | 42000 | 42000 | 504000 | Dev
Test |  | 50% | 10 | 0 | 10 |  |  | Test | 16.67% |  | Test | 0.33333 | 10 | 10 | 420000 |  |  |  |  | 0 | 0 | 0 | 42000 | 42000 | 504000 | Test
PreProd |  | 100% | 20 |  | 20 | 20 |  | QA | 33.33% |  | QA | 0.66667 | 20 | 20 | 840000 |  |  |  |  | 0 | 0 | 0 | 84000 | 84000 | 1008000 | QA
DR | [5 empty] | 20 | 20 | DR |  |  | DR |  |  |  | 140000 |  |  |  |  | 0 | 0 | 0 | 14000 | 14000 | 168000 | DR
TOT |  |  | 60 | 30 | 30 | 20 | 20 |  | 100% |  |  | 2 | 60 | 60 | 2660000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266000 | 266000 | 3192000 | TOT
|  |  | Price per Site | 1800000 | 1800000 | 100000 | 100000 |  |  |  |  | # of Server | # of Sockets | # of Cores | 1: Allocato nelle varie voci.
Tipicamente, dopo aver progettato una configurazione, viene fornita al cliente un'offerta.
Prezzo di acquisto di LinuxOne + costoPerCore*(Core necessari - core inclusi)
Ogni sito ha un LinuxOne, ciascuno con 100 cores. Di questi solo 60 per sito sono attivi
Software Stack
Production | Acquisition/ Capital Cost | Maintenance/ Subscription | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS - SUSE Linux Enterprise Server 15 for x86 & x86-64 (Unlimited VM) - 3 Year std subscription | 2702 | 540.4 | 4 | 0% | socket | socket | 1 | 0.66667 | 20 | 20 |  | 20 | socket | 20 | 54040 |  |  |  |  | 0 | 0 | 0 | 10808 | 10808 | 75656
VM - Included in hardware | 0 | 0 | 2 | 0% | socket | socket | 1 | 0.66667 | 20 | 20 |  | 20 | socket | 20 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server - Oracle WebLogic Server Enterprise Edition | 29830 | 5966 | 2 | 0% | socket | socket | 1 | 0.66667 | 20 | 20 |  | 20 | socket | 20 | 596600 |  |  |  |  | 0 | 119320 | 119320 | 119320 | 119320 | 1073880
DB - Oracle DB Enterprise Edition | 40489 | 8097.8 | 2 | 0% | socket | socket | 1 | 0.66667 | 20 | 20 |  | 20 | socket | 20 | 809780 |  |  |  |  | 0 | 161956 | 161956 | 161956 | 161956 | 1457604
Data Replication Tools - GoldenGate | 14915 | 3000 | 1 | 0% | socket | socket | 1 | 0.66667 | 20 | 20 |  | 20 | socket | 20 | 298300 |  |  |  |  | 60000 | 60000 | 60000 | 60000 | 60000 | 598300
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 20 | 20 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 20 | 20 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
[14 empty] | PROD | 1762720 | 0 | 0 | 0 | 0 | 60000 | 342076 | 342076 | 352884 | 352884 | 3212640
Dev | Acquisition/ Capital Cost | Maintenance/ Subscription | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS - SUSE Linux Enterprise Server 15 for x86 & x86-64 (Unlimited VM) - 3 Year std subscription | 2702 | 540.4 | 4 | 0% | socket | socket | 1 | 0.33333 | 10 | 10 |  | 10 | socket | 10 | 27020 |  |  |  |  | 0 | 0 | 0 | 5404 | 5404 | 37828
VM - Included in hardware | 0 | 0 | 2 | 0% | socket | socket | 1 | 0.33333 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server - Oracle WebLogic Server Enterprise Edition | 29830 | 5966 | 2 | 0% | socket | socket | 1 | 0.33333 | 10 | 10 |  | 10 | PVU | 10 | 298300 |  |  |  |  | 0 | 59660 | 59660 | 59660 | 59660 | 536940
DB - Oracle DB Enterprise Edition | 40489 | 8097.8 | 2 | 0% | socket | socket | 1 | 0.33333 | 10 | 10 |  | 10 | core | 10 | 404890 |  |  |  |  | 0 | 80978 | 80978 | 80978 | 80978 | 728802
Data Replication Tools - GoldenGate | 14915 | 3000 | 1 | 0% | socket | socket | 1 | 0.33333 | 10 | 10 |  | 10 | core | 10 | 149150 |  |  |  |  | 30000 | 30000 | 30000 | 30000 | 30000 | 299150
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 10 | 10 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 10 | 10 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
[14 empty] | DEV | 881360 | 0 | 0 | 0 | 0 | 30000 | 171038 | 171038 | 176442 | 176442 | 1606320
Test | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS - SUSE Linux Enterprise Server 15 for x86 & x86-64 (Unlimited VM) - 3 Year std subscription | 2702 | 540.4 | 4 | 0% | socket | socket | 1 | 0.33333 | 10 | 10 |  | 10 | socket | 10 | 27020 |  |  |  |  | 0 | 0 | 0 | 5404 | 5404 | 37828
VM - Included in hardware | 0 | 0 | 2 | 0% | socket | socket | 1 | 0.33333 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server - Oracle WebLogic Server Enterprise Edition | 29830 | 5966 | 2 | 0% | socket | socket | 1 | 0.33333 | 10 | 10 |  | 10 | PVU | 10 | 298300 |  |  |  |  | 0 | 59660 | 59660 | 59660 | 59660 | 536940
DB - Oracle DB Enterprise Edition | 40489 | 8097.8 | 2 | 0% | socket | socket | 1 | 0.33333 | 10 | 10 |  | 10 | core | 10 | 404890 |  |  |  |  | 0 | 80978 | 80978 | 80978 | 80978 | 728802
Data Replication Tools - GoldenGate | 14915 | 3000 | 1 | 0% | socket | socket | 1 | 0.33333 | 10 | 10 |  | 10 | core | 10 | 149150 |  |  |  |  | 30000 | 30000 | 30000 | 30000 | 30000 | 299150
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 10 | 10 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 10 | 10 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
[14 empty] | Test | 881360 | 0 | 0 | 0 | 0 | 30000 | 171038 | 171038 | 176442 | 176442 | 1606320
Pre Prod / QA | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS - SUSE Linux Enterprise Server 15 for x86 & x86-64 (Unlimited VM) - 3 Year std subscription | 2702 | 540.4 | 4 | 0% | socket | socket | 1 | 0.66667 | 20 | 20 |  | 20 | socket | 20 | 54040 |  |  |  |  | 0 | 0 | 0 | 10808 | 10808 | 75656
VM - Included in hardware | 0 | 0 | 2 | 0% | socket | socket | 1 | 0.66667 | 20 | 20 |  | 20 | socket | 20 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server - Oracle WebLogic Server Enterprise Edition | 29830 | 5966 | 2 | 0% | socket | socket | 1 | 0.66667 | 20 | 20 |  | 20 | PVU | 20 | 596600 |  |  |  |  | 0 | 119320 | 119320 | 119320 | 119320 | 1073880
DB - Oracle DB Enterprise Edition | 40489 | 8097.8 | 2 | 0% | socket | socket | 1 | 0.66667 | 20 | 20 |  | 20 | core | 20 | 809780 |  |  |  |  | 0 | 161956 | 161956 | 161956 | 161956 | 1457604
Data Replication Tools - GoldenGate | 14915 | 3000 | 1 | 0% | socket | socket | 1 | 0.66667 | 20 | 20 |  | 20 | core | 20 | 298300 |  |  |  |  | 60000 | 60000 | 60000 | 60000 | 60000 | 598300
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 20 | 20 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 20 | 20 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
[14 empty] | Pre Prod /QA | 1762720 | 0 | 0 | 0 | 0 | 60000 | 342076 | 342076 | 352884 | 352884 | 3212640
DR | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS - SUSE Linux Enterprise Server 15 for x86 & x86-64 (Unlimited VM) - 3 Year std subscription | 2702 | 540.4 | 4 | 0% | socket | socket | 1 | 0 | 0 | 0 |  | 0 | socket | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
VM - Included in hardware | 0 | 0 | 2 | 0% | socket | socket | 1 | 0 | 0 | 0 |  | 0 | socket | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server - Oracle WebLogic Server Enterprise Edition | 29830 | 5966 | 2 | 0% | socket | socket | 1 | 0 | 0 | 0 |  | 0 | PVU | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
DB - Oracle DB Enterprise Edition | 40489 | 8097.8 | 2 | 0% | socket | socket | 1 | 0 | 0 | 0 |  | 0 | core | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Data Replication Tools - GoldenGate | 14915 | 3000 | 1 | 0% | socket | socket | 1 | 0 | 0 | 0 |  | 0 | core | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0 | 0 | 0 |  | 0 | server | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0 | 0 | 0 |  | 0 | server | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[14 empty] | DR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | Software Stack TOTALS |  |  | 5288160 | 0 | 0 | 0 | 0 | 180000 | 1026228 | 1026228 | 1058652 | 1058652 | 9637920 | TOT
People
People | [11 empty] | # of Server | FTE Require |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
# of Servers covered by 1 FTE for IT Operations considering QoS |  | 10 | This is for patches, upgrade, backup, Crit Sit or Disaster recovery personnels, etc | [7 empty] | Prod | 0.66667 | 0.066667 |  | 1: 6666.6667; 2: 6666.6667; 3: 6666.6667; 4: 6666.6667; 5: 6666.6667 | 33333.3333 | Prod
Avg yearly Fully loaded cost of IT Staff |  | 100000 | [8 empty] | Dev | 0.33333 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Dev
[11 empty] | Test | 0.33333 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Test
[11 empty] | QA | 0.66667 | 0.066667 |  | 1: 6666.6667; 2: 6666.6667; 3: 6666.6667; 4: 6666.6667; 5: 6666.6667 | 33333.3333 | QA
[11 empty] | DR | 0 | 0 |  | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | TOT FTE required | 0.2 |  | 0 | 0 | 0 | 0 | 0 | 20000 | 20000 | 20000 | 20000 | 20000 | 100000 | TOT
Network
Network | [12 empty] | # of Server |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Avg cost of Networking Infrastructure per Server |  | 14000 | [9 empty] | Prod | 0.66667 |  | 6533.3333 |  |  |  |  | 0 | 653.3333 | 653.3333 | 653.3333 | 653.3333 | 9146.6667 | Prod
Avg discount % |  | 30% | [9 empty] | Dev | 0.33333 |  | 3266.6667 |  |  |  |  | 0 | 326.6667 | 326.6667 | 326.6667 | 326.6667 | 4573.3333 | Dev
Avg Maintenance/ Operating Cost (% of acq.) |  | 10% | [9 empty] | Test | 0.33333 |  | 3266.6667 |  |  |  |  | 0 | 326.6667 | 326.6667 | 326.6667 | 326.6667 | 4573.3333 | Test
Avg Maintenance/ Operating Cost (Currency) |  | 1400 | [9 empty] | QA | 0.66667 |  | 6533.3333 |  |  |  |  | 0 | 653.3333 | 653.3333 | 653.3333 | 653.3333 | 9146.6667 | QA
Starting Year of Maint |  | 2 | [9 empty] | DR | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | DR
[12 empty] | TOT # of Servers | 2 |  | 19600 | 0 | 0 | 0 | 0 | 0 | 1960 | 1960 | 1960 | 1960 | 27440 | TOT
Facilities
Space | [11 empty] | # of Server | # of Rack Cab | Avg. Footprint | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Footprint of Server Rack Cabinet | sq.m. | 2.6 | [8 empty] | Prod | 0.66667 | 0.66667 | 1.7333 | 1: 4853.3333; 2: 4853.3333; 3: 4853.3333; 4: 4853.3333; 5: 4853.3333 | 24266.6667 | Prod
[11 empty] | Dev | 0.33333 | 0.33333 | 0.86667 | 1: 2426.6667; 2: 2426.6667; 3: 2426.6667; 4: 2426.6667; 5: 2426.6667 | 12133.3333 | Dev
Fully loaded cost of space per sq meter | $ | 2800 | [8 empty] | Test | 0.33333 | 0.33333 | 0.86667 | 1: 2426.6667; 2: 2426.6667; 3: 2426.6667; 4: 2426.6667; 5: 2426.6667 | 12133.3333 | Test
[11 empty] | QA | 0.66667 | 0.66667 | 1.7333 | 1: 4853.3333; 2: 4853.3333; 3: 4853.3333; 4: 4853.3333; 5: 4853.3333 | 24266.6667 | QA
[11 empty] | DR | 0 | 0 | 0 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | 2 | 2 | 5.2 | 0 | 0 | 0 | 0 | 0 | 14560 | 14560 | 14560 | 14560 | 14560 | 72800 | TOT
[12 empty] | # of Server | # of Rack Cab | Avg. Footprint
Electricity |  |  | Costo energia aggiornato a Marzo 2021 (media delle fasce orarie) | [8 empty] | # of Servers | kWh / year |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Actual Electricity Cost at the sites | $/kWh | 0.06 |  |  |  |  | Electricity Consumption by fully loaded z Server | kWh | 15 |  | Prod | 0.66667 | 13831.5789 |  | 1: 829.8947; 2: 829.8947; 3: 829.8947; 4: 829.8947; 5: 829.8947 | 4149.4737 | Prod
Electricity Additional Cost for cooling, UPS and other peripherals | % | 66% |  |  |  |  | Electricity by core | kWh | 0.078947 |  | Dev | 0.33333 | 6915.7895 |  | 1: 414.9474; 2: 414.9474; 3: 414.9474; 4: 414.9474; 5: 414.9474 | 2074.7368 | Dev
Electricity Consumption of Selected Server | kWh | 2.3684 | [8 empty] | Test | 0.33333 | 6915.7895 |  | 1: 414.9474; 2: 414.9474; 3: 414.9474; 4: 414.9474; 5: 414.9474 | 2074.7368 | Test
Yearly kWh/ server | kWh | 20747.3684 |  |  |  |  | Number of cores |  | 30 |  | QA | 0.66667 | 13831.5789 |  | 1: 829.8947; 2: 829.8947; 3: 829.8947; 4: 829.8947; 5: 829.8947 | 4149.4737 | QA
[11 empty] | DR | 0 | 0 |  | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | 2 | 41494.7368 |  | 0 | 0 | 0 | 0 | 0 | 2489.6842 | 2489.6842 | 2489.6842 | 2489.6842 | 2489.6842 | 12448.4211 | TOT
[12 empty] | # of Servers | kWh / year
[11 empty] | Prod |  |  |  | 0 | 0 | 0 | 0 | 0 | 5683.2281 | 5683.2281 | 5683.2281 | 5683.2281 | 5683.2281 | 28416.1404 | Prod
[11 empty] | Dev |  |  |  | 0 | 0 | 0 | 0 | 0 | 2841.614 | 2841.614 | 2841.614 | 2841.614 | 2841.614 | 14208.0702 | Dev
[11 empty] | Test |  |  |  | 0 | 0 | 0 | 0 | 0 | 2841.614 | 2841.614 | 2841.614 | 2841.614 | 2841.614 | 14208.0702 | Test
[11 empty] | QA |  |  |  | 0 | 0 | 0 | 0 | 0 | 5683.2281 | 5683.2281 | 5683.2281 | 5683.2281 | 5683.2281 | 28416.1404 | QA
[11 empty] | DR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | DR
[12 empty] | Facilities TOTALS |  |  | 0 | 0 | 0 | 0 | 0 | 17049.6842 | 17049.6842 | 17049.6842 | 17049.6842 | 17049.6842 | 85248.4211 | TOT
[13 empty] | Total costs for this scenario |  | 7967760 | 0 | 0 | 0 | 0 | 217049.6842 | 1065237.6842 | 1065237.6842 | 1363661.6842 | 1363661.6842 | 13042608.4211 | TOT
[13 empty] | Tot costs per year |  | 1: 8184809.6842; 2: 1065237.6842; 3: 1065237.6842; 4: 1363661.6842; 5: 1363661.6842 | 13042608.4211
[13 empty] | Tot cumulative costs |  | 1: 8184809.6842; 2: 9250047.3684; 3: 10315285.0526; 4: 11678946.7368; 5: 13042608.4211

## TCO comparison
| Workload [TPS]= | 4000 | (Peak)
| x86 | Environments | [6 empty] | LinuxONE | Environments
R1-XES08ef S68813 w Xeon Gold 6126 12C 2.60Ghz (2 Chips, 24 Cores, 128GB total RAM 2666Mhz) |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp |  |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp
Components | Hardware | 104810.86 | 47641.3 | 47641.3 | 85754.34 | 190565.2 | 476413 | Components | Hardware | 1008000 | 504000 | 504000 | 1008000 | 168000 | 3192000
| Software | 3554274 | 1526346 | 1526346 | 2878298 | 6432572 | 15917836 |  | Software | 3212640 | 1606320 | 1606320 | 3212640 | 0 | 9637920
| People | 833333.3333 |  |  |  |  | 833333.3333 |  | People | 100000 |  |  |  |  | 100000
| Network | 75460 | 34300 | 34300 | 61740 | 137200 | 343000 |  | Network | 9146.6667 | 4573.3333 | 4573.3333 | 9146.6667 | 0 | 27440
| Space | 13000 | 5633.3333 | 5633.3333 | 10140 | 26000 | 60406.6667 |  | Space | 24266.6667 | 12133.3333 | 12133.3333 | 24266.6667 | 0 | 72800
| Electricity | 16670.28 | 7577.4 | 7577.4 | 13639.32 | 30309.6 | 75774 |  | Electricity | 4149.4737 | 2074.7368 | 2074.7368 | 4149.4737 | 0 | 12448.4211
| Total by Env | 4597548.4733 | 1621498.0333 | 1621498.0333 | 3049571.66 | 6816646.8 | 17706763 |  | Total by Env | 4358202.807 | 2129101.4035 | 2129101.4035 | 4258202.807 | 168000 | 13042608.4211
[14 empty] | Savings = | 26.34%
| Hardware | Software | People | Network | Facilities | DR | TOT
x86 | 285847.8 | 9485264 | 833333.3333 | #REF! | #REF! | 6816646.8 | #REF!
LinuxONE | 3024000 | 9637920 | 100000 | #REF! | #REF! | 168000 | #REF!
| Cumulative Costs | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| x86 | 9753705.8 | 11682541.8 | 13611377.8 | 15659070.4 | 17706763
| LinuxONE | 8184809.6842 | 9250047.3684 | 10315285.0526 | 11678946.7368 | 13042608.4211
| TCA (1st year) | Hardware | Software | TOT
| x86 | 340295 | 1935021 | 2275316
| LinuxONE | 2660000 | 1762720 | 4422720 | 194.4%
|  | TPS | x86 TCO | LinuxONE TCO
|  | 100 | 1283166.44 | 1880157.8947
|  | 150 | 1446760.44 | 1880157.8947
|  | 200 | 1610354.44 | 1880157.8947
|  | 250 | 2191877.2533 | 2209516.8421
|  | 300 | 2191877.2533 | 2209516.8421
|  | 350 | 2355471.2533 | 2209516.8421
|  | 400 | 2519065.2533 | 2209516.8421
|  | 450 | 2682659.2533 | 2859834.7368
|  | 500 | 3683237.5467 | 2859834.7368
|  | 550 | 3683237.5467 | 2859834.7368
|  | 600 | 3846831.5467 | 2859834.7368
|  | TPS | x86 TCO | LinuxONE TCO
|  | 1000 | 6339896.8 | 4007511.5789
|  | 2000 | 10082987.5333 | 6884224.2105
|  | 3000 | 13813078.2667 | 10165895.7895
|  | 4000 | 17706763 | 13042608.4211
|  | 5000 | 21462853.7333 | 16324280
|  | 6000 | 25192944.4667 | 19200992.6316
|  | 7000 | 29413817.2 | 22482664.2105
|  | 8000 | 33156907.9333 | 25359376.8421

## TPS and TCO
TPS | x86 TCO | LinuxONE TCO | [6 empty] | TPS | x86 TCO | LinuxONE TCO
100 | 1283166.44 | 1880157.8947 | [6 empty] | 1000 | 6339896.8 | 4007511.5789
150 | 1446760.44 | 1880157.8947 | [6 empty] | 2000 | 10082987.5333 | 6884224.2105
200 | 1610354.44 | 1880157.8947 | [6 empty] | 3000 | 13813078.2667 | 10165895.7895
250 | 2191877.2533 | 2209516.8421 | [6 empty] | 4000 | 17706763 | 13042608.4211
300 | 2191877.2533 | 2209516.8421 | [6 empty] | 5000 | 21462853.7333 | 16324280
350 | 2355471.2533 | 2209516.8421 | [6 empty] | 6000 | 25192944.4667 | 19200992.6316
400 | 2519065.2533 | 2209516.8421 | [6 empty] | 7000 | 29413817.2 | 22482664.2105
450 | 2682659.2533 | 2859834.7368 | [6 empty] | 8000 | 33156907.9333 | 25359376.8421
500 | 3683237.5467 | 2859834.7368
550 | 3683237.5467 | 2859834.7368
600 | 3846831.5467 | 2859834.7368
x86
Site 1 | Production | Development | Test | Preproduction |  | Site2 | DR
Servers | 11 | 5 | 5 | 9 |  | Servers | 20
Cores | 248 | 100 | 100 | 200 |  | Cores | 448
Allocated servers | 50 | Allocated cores | 1096 | Spare cores | 104
LinuxOne
Site 1 | Production | Development | Spare |  | Site 2 | Preproduction | Test | Spare
Cores | 20 | 10 | 20 |  |  | 20 | 10 | 20
Allocated servers | 2 | Allocated cores | 60 | Spare cores | 40